iAeris – Air quality sensor setup guide.

- Arrange the static IP for iAeris of each room and record the IP and the serial number of the iAeris in the excel sheet.

  - Check serial-no on the back side of the iAeris device.

- WiFi connectiong.

  - Check WiFI-SSID and password on the back side of the iAeris device.

  - Connect to the iAeris in the conference room with WiFi on the notebook.

- Network setting.

  - After connecting to the device with WiFi, access the URL below.

  - http://192.168.4.1/config

- Select the WiFi AP to which the device will connect.

- Enter the password of the AP selected above.

- Uncheck the option ‘Upload Cloud’

- Uncheck the option ‘DHCP’

- Enter the static IP, Gateway and Subnet Mask for the device.

- Press the ‘Accept’ button.

- Wait while setting.

- Successful case.

- Failed case.

  - Go to the step 3 and try again.